## QA-QC Data
QA-QC Results
Blanks (mg L-1) |  | Laboratory Control Standards (mg L-1)
Lab Blank #1 | 400 | 5% wt NaCl #1
|  | Measured TDS | 52200
|  | Known TDS | 51700
Duplicates and Replicates (mg L-1) |  | Percent Deviation | 0.95785
Field Duplicates | N/A | 10% wt NaCl #1
|  | Measured TDS | 107000
Laboratory Replicates |  | Known TDS | 107000
Masterson.UT.20240401.001 - CCU 12-1 | 299000 | Percent Deviation | 0
Lab Rep Masterson.UT.20240401.001 - REP CCU 12-1 | 292000
Percent Deviation | 1.1706
A. Yellow highlight indicates value outside of acceptance criteria.
QA-QC Acceptance Criteria:
1. Laboratory blanks have total dissolved solids (TDS) = 0 ± 2000 mg L-1
2. Field blanks have no acceptance criteria
3. Laboratory replicates within ±5% of mean TDS
4. Field duplicates have no acceptance criteria
5. Laboratory control standards within ± 15% of expected TDS value
s

## Data Summary
BRInE Lab Sample ID | Submitter Sample ID | Reporting Total Dissolved Solids (mg L-1)
Masterson.UT.20240401.001 | CCU 12-1 | 299000
Masterson.UT.20240401.002 | CCU 17-1 | 179000
Masterson.UT.20240401.003 | CCU 28-2 | 101000
Masterson.UT.20240401.004 | KSF 10-1 | 324000
Masterson.UT.20240401.005 | TM 43-18H | 254000
Masterson.UT.20240401.006 | S 16-2 | 347000
Masterson.UT.20240401.007 | F 28-11 | 199000
Masterson.UT.20240401.008 | UT 34-13J-D3 | 10000
Masterson.UT.20240401.009 | UT 13H-16-55 | 8000
Flags
1. The standard operating procedure requires samples to be unacidified and filtered. Samples 'Masterson.UT.20240401.001-007' are filtered(0.45um) but acidified(2% HNO3). Data is flagged.
Notes
A. N/A

## Traceability
Analyst: | A. Herzberg
Date Analyzed: | 2024-04-02
SOP: | ERP-BRInE-SOP 11
Version: | 05
Pipette ID: | ERP-BRInE-P.100-1000.01
Balance ID: | B1464559013
Balance Calibration: | 2024-02-28
Laboratory control standards:
Date made | 2024-02-23
ID | NaCl5.20240223
Date made | 2024-02-23
ID | NaCl10.20240223