## QA-QC Data
QA-QC Results
Blanks (mg L-1) |  | Laboratory Control Standards (mg L-1)
Lab Blank #1 | 0 | 5% wt NaCl #1
|  | Measured TDS | 52300
|  | Known TDS | 51700
Duplicates and Replicates (mg L-1) |  | Percent Deviation | 1.1472
Field Duplicates | N/A | 10% wt NaCl #1
|  | Measured TDS | 107000
Laboratory Replicates |  | Known TDS | 107000
Masterson.UT.20240725.008 | 18500 | Percent Deviation | 0
REP - Masterson.UT.20240725.008 | 19000
Percent Deviation | -1.3514
A. Yellow highlight indicates value outside of acceptance criteria.
QA-QC Acceptance Criteria:
1. Laboratory blanks have total dissolved solids (TDS) = 0 ± 2000 mg L-1
2. Field blanks have no acceptance criteria
3. Laboratory replicates within ±5% of mean TDS
4. Field duplicates have no acceptance criteria
5. Laboratory control standards within ± 15% of expected TDS value
s

## Data Summary
BRInE Lab Sample ID | Submitter Sample ID | Reporting Total Dissolved Solids (mg L-1)
Masterson.UT.20240725.001 | FD43 | 6100
Masterson.UT.20240725.002 | FD50 | 7800
Masterson.UT.20240725.003 | FD51 | 6600
Masterson.UT.20240725.004 | FD68 | 8300
Masterson.UT.20240725.005 | FD75 | 9300
Masterson.UT.20240725.006 | FD70 | 8300
Masterson.UT.20240725.007 | FD86 | 17300
Masterson.UT.20240725.008 | FD88 | 17400
Flags
1. N/A
Notes
A. N/A

## Traceability
Analyst: | A. Herzberg
Date Analyzed: | July 26th, 2024
SOP: | ERP-BRInE-SOP 11
Version: | 06
Pipette ID: | ERP-BRInE-P.100-1000.01
Balance ID: | B1464559013
Balance Calibration: | 2024-02-28
Laboratory control standards:
Date made | 2024-02-23
ID | NaCl5.20240223
Date made | 2024-02-23
ID | NaCl10.20240223